Experiment No 2

AIM-Study of various types of sensors

### 1. Temperature Sensor

- Purpose: Measures temperature, often in physical environments or processes.

- Examples in Real World:

  - DS18B20

- Key Principle of Working: Temperature sensors measure temperature using physical properties that change with temperature (like resistance or voltage).

  - Thermistor (resistance changes with temperature)

  - Thermocouple (voltage changes with temperature)

  - RTD (Resistance Temperature Detector) (resistance changes)

- Key Technologies:

  - Thermistors, Thermocouples, RTDs

- Applications:

  - Climate control (HVAC systems)

  - Industrial process monitoring

  - Home automation (e.g., smart home thermostats)

  - Environmental monitoring

### 2. Humidity Sensor

- Purpose: Measures the humidity (moisture level) in the air.

- Examples in Real World:

  - DHT11

- Key Principle of Working: The sensor detects the amount of water vapor in the air, often using electrical resistance or capacitance that changes with humidity.

  - Capacitive (change in capacitance with humidity)

  - Resistive (change in resistance with humidity)

- Key Technologies:

  - Capacitive, Resistive, and Thermal conductivity

- Applications:

  - Weather forecasting

  - Climate control in buildings

  - Agricultural monitoring (greenhouses)

  - Industrial air quality control

### 3. Gas Sensor

- Purpose: Detects the presence and concentration of gases.

- Examples in Real World:

  - MQ-2

- Key Principle of Working: Gas sensors detect changes in electrical conductivity or other properties when exposed to specific gases.

  - Electrochemical sensors (detect specific gases through chemical reactions)

  - Semiconductor sensors (changes in resistance)

  - Infrared sensors (absorption of IR light by gases)

- Key Technologies:

  - Electrochemical, Infrared, Semiconductor

- Applications:

  - Environmental monitoring (air quality)

  - Industrial safety (gas leak detection)

  - Automotive (exhaust gas analysis)

  - Home safety (smoke, CO detectors)

### 4. Motion Sensor

- Purpose: Detects movement in a given area.

- Examples in Real World:

  - PIR (Passive Infrared) Sensor

- Key Principle of Working: Motion sensors detect physical movement, often by detecting infrared radiation (heat) or changes in electromagnetic fields.

  - Passive Infrared (PIR) (detects infrared radiation from objects)

  - Ultrasonic sensors (measure distance changes from sound waves)

- Key Technologies:

  - Infrared, Ultrasonic, Microwave

- Applications:

  - Security and surveillance

  - Smart home lighting

  - Occupancy detection

  - Robotics and automation

### 5. Light Sensor

- Purpose: Measures the intensity of light.

- Examples in Real World:

  - BH1750

- Key Principle of Working: Light sensors work by detecting the amount of light and converting it to an electrical signal.

  - Photodiodes (converts light to current)

  - LDR (Light Dependent Resistor) (changes resistance with light intensity)

- Key Technologies:

  - Photodiodes, LDR, Phototransistors

- Applications:

  - Streetlight control

  - Photography/camera systems

  - Solar energy systems

  - Environmental lighting systems

### 6. Proximity Sensor

- Purpose: Detects the presence or absence of an object or its distance from the sensor.

- Examples in Real World:

  - HC-SR04 (Ultrasonic Sensor)

- Key Principle of Working: Proximity sensors detect objects by emitting a signal (light, sound, or electromagnetic waves) and measuring the return or change in signal.

  - Capacitive (detects change in capacitance)

  - Inductive (detects metal objects)

  - Ultrasonic (measures distance based on sound waves)

- Key Technologies:

  - Capacitive, Inductive, Ultrasonic

- Applications:

  - Industrial automation

  - Automotive parking sensors

  - Consumer electronics

  - Touchless control systems

### 7. Pressure Sensor

- Purpose: Measures the pressure of gases or liquids.

- Examples in Real World:

  - BMP180

- Key Principle of Working: Pressure sensors measure the force exerted by a gas or liquid on a surface and convert it into an electrical signal.

  - Piezoelectric (changes voltage under pressure)

  - Capacitive (change in capacitance with pressure)

  - Strain gauge (measures strain due to pressure)

- Key Technologies:

  - Piezoelectric, Strain gauges, Capacitive

- Applications:

  - Automotive (tire pressure monitoring)

  - Aerospace (altitude measurement)

  - Medical (blood pressure monitoring)

  - Industrial applications (hydraulic and pneumatic systems)

### 8. pH Sensor

- Purpose: Measures the acidity or alkalinity of a solution.

- Examples in Real World:

  - PH-4502C

- Key Principle of Working: pH sensors work by measuring the concentration of hydrogen ions in a solution, which correlates to pH.

  - Glass electrodes (measure pH via voltage change)

  - Ion-selective field-effect transistors (ISFET) (electrical response to ion concentration)

- Key Technologies:

  - Glass electrode, ISFET

- Applications:

  - Water treatment and environmental monitoring

  - Food and beverage industry

  - Agriculture (soil pH testing)

  - Laboratories (research and analysis)

### 9. Flow Sensor

- Purpose: Measures the flow rate of liquids or gases.

- Examples in Real World:

  - YF-S201 (Water Flow Sensor)

- Key Principle of Working: Flow sensors detect the speed or quantity of flow through a pipe or a duct.

  - Turbine flow meters (rotating turbine detects flow)

  - Electromagnetic flow meters (detects flow by induced voltage)

  - Ultrasonic flow meters (uses sound waves to measure flow speed)

- Key Technologies:

  - Turbine, Electromagnetic, Ultrasonic

- Applications:

  - Industrial process control

  - Oil and gas pipelines

  - Water supply monitoring

  - Medical devices (IV flow monitoring)